## Literatur Review
Tahun | 2010 | 2017 | 2017 | 2018 | 2018 | 2019
Nama Peneliti | G. Mustafaraj, J. Chen, G. Lowry | Zakia Afroz, GM Shafiullah, Tania Urmee, dan Garry Higgins | Ing. J´an Drgoˇna | Hyun-Jung Yoon, Dong-Seok Lee, Hyun Cho, dan Jae-Hun Jo | Zhipeng Deng , Qingyan Chen | Penelitian ini
Judul Penelitian | Thermal behaviour prediction utilizing artificial neural networks for an open office | Prediction of Indoor Temperatur in an Institutional Building | Model Predictive Control with Applications in Building Thermal Comfort Control | Prediction of thermal Environment in a Large Space Using Artificial Neural Network | Artificial neural network models using thermal sensations and occupants’ behavior for predicting thermal comfort
Objek penelitian | kantor tapak terbuka pada bangunan komersial modern | Bangunan institusi | an existing 6-rooms terraced house | Stadium | Kantor (10) dan rumah/apartemen (10) | Climate Chamber DTNTF (1)
Tipe | Prediksi | Prediksi | Kendali | Prediksi | Prediksi | Kendali
Perangkat yang dikendalikan | - | - | HVAC | - | - | AC dan heater
Variabel yang diukur | External Weather, occupancy, dry-bulb temperature, ventilation air flow rate, ventilation air temperature, dan hot and cold water temperature. | Indoor air temperature |  | Indoor wall surface temperature, outdoor air temperature. | Suhu udara, Kelembapan relatif, insulasi pakaian, laju metabolisme, sensasi termal, perilaku penghuni. | Radiasi matahari, suhu lingkungan, suhu udara dan kelembapan udara
Metode yang digunakan | Black-box non-linear neural networks: NNARX, NNARMAX, dan NNOE | Jaringan saraf tiruan (Artificial Neural Network) | Model Predictive Control, PID, RBC | Jaringan saraf tiruan (Artificial Neural Network) | Jaringan saraf tiruan (Artificial Neural Network) | Jaringan saraf tiruan (Artificial Neural Network)
Hasil penelitian | Model NNARX lebih cocok dalam memprediksi suhu ruang menggunakan data pengembangan model dalam satu minggu selama musim summer, autumn dan winter. | Penelitian ini menegaskan bahwa mengidentifikasi variabel-variabel input yang relevan dan menyortirnya berdasarkan relevansi untuk mewakili suhu ruang dalam bangunan adalah langkah-langkah kunci untuk menentukan arsitektur jaringan yang optimal yang pada gilirannya memberikan akurasi prediksi yang baik. |  | Metode prediksi lingkungan termal diusulkan menggunakan model JST untuk mengevaluasi lingkungan termal di ruangan besar yang dibagi menjadi zona-zona. | Model yang dibuat mampu memprediksi kisaran suhu udara yang sama di kantor dengan nilai | sekian %
| Model ini dapat digunakandalam sistem kendali HVAC dan memperluas jenis bangunan lainnya, termasuk rumah sakit, supermarket, bandara dan sekolah. | Untuk kedua kasus bangunan dan untuk semua set data yang berbeda yang digunakan dalam penelitian ini Lovenberg-Marquardt telah menemukan algoritma pelatihan yang paling cocok untuk memprediksi suhu ruang dalam ruangan dalam hal akurasi prediksi, kemampuan generalisasi dan waktu iterasi untuk melatih algoritma. |  | Proses evaluasi lingkungan termal yang diturunkan dalam makalah ini dapat digunakan untuk mengontrol fasilitas HVAC di setiap zona bangunan ruang besar melalui pembelajaran mesin oleh model JST.

## Sheet1
No. | Title | Thermal comfort | Thermal sensation | Energy saving | Thermal Chamber | Tropic | Temperature control | Control algorithm | Artificial Intelligence | Machine Learning | Artificial Neural Network | Fuzzy
1 | Adaptive-feedback control algoritm | - | - | - | - | - | - | 1 | - | - | - | -
2 | Artificial intelligence tools and inverse methods for estimating the thermal diffusity of building materials | - | - | 1 | - | - | 1 | 1 | 1 | - | 1 | 1
3 | Artificial neural network models using thermal sensations and occupants' behavior for predicting thermal comfort | 1 | 1 | 1 | 1 | - | 1 | 1 | - | - | 1 | -
4 | Energy consequences of Comfort-driven temperature setpoints in office buildings | 1 | 1 | 1 | - | - | - | 1 | - | - | - | -
5 | Evolving ANN | - | - | - | - | - | - | 1 | - | - | 1 | -
6 | Experimental testing of a random neural network smart controller using a single zone test chamber | 1 | 1 | 1 | 1 | - | 1 | 1 | - | - | - | -
7 | Local thermal sensation and comfort study in a field environment chamber served by displacement ventilation system in the tropics | 1 | 1 | - | 1 | 1 | - | - | - | - | - | -
8 | Modelling personal thermal sensations using C-Support Vector Classification (C-SVC) algorithm | 1 | 1 | 1 | - | - | - | 1 | - | 1 | - | -
9 | Neural network based predictive control of personalized heating systems | 1 | 1 | 1 | 1 | - | - | 1 | - | - | 1 | -
10 | Neural networks based predictive control for thermal comfort and energy savings in public buildings | 1 | 1 | 1 | - | - | 1 | 1 | - | - | 1 | -
11 | Predicted and Reported Thermal Sensation in Climate Chambers, Offices and Homes | 1 | 1 | 1 | 1 | - | 1 | 1 | - | - | - | -
12 | Thermal modeling of gas engine driven air to water heat pump systems in heating mode using genetic algorithm and Artificial Neural Network methods | - | - | - | - | - | - | 1 | - | - | 1 | -
13 | Thermal sensation and comfort models for non-uniform and transient environments Part I Local sensation of individual body parts | 1 | 1 | 1 | - | 1 | - | - | - | - | - | -
14 | Using an ensemble machine learning methodology-Bagging to predict occupants' thermal comfort in buildings | 1 | 1 | 1 | 1 | - | 1 | - | - | 1 | 1 | -
15 | Wavelet-based multi-resolution analysis and artificial neural network for forecasting temperature and thermal power consumption | - | - | 1 | - | - | 1 | 1 | 1 | - | 1 | -